## Slide 1: EU Network Codes
DCRP Issues and Update
DCRP_19_xx
12 December 2019

## Slide 2: Agenda
Requirement for Generators
Other Codes
Issues for endorsement

## Slide 3: RfG 1 - Type Tested Compliance
As of 31/10/19 there are over 1000 entries registered from about 50 manufactures into the ENA’s type test database.
ENA wrote to 11 manufacturers about their incomplete etc entries, and asked for resolution of these issues by 5 July 2019. This has resulted in improved resubmissions which are being reviewed.
ENA has appointed engineering consultants to undertake a deeper review of the equipment in the database which started in November 2019. The scope of the review is to
  undertake a review of the Compliance Verification reports registered for each device for completeness and accuracy;
  assess the type test evidence to confirm whether it demonstrates compliance;
  verify the validity of and whether an equipment certificate has been used to demonstrate compliance;
  undertake 2 industry workshops to disseminate learnings of how stakeholders can demonstrate compliance; prepare industry guidance on acceptable type testing methodologies.
The compliance report is to be confidential to the manufacturer and ENA members.
ENA has published guidance on its website re these compliance checks which will be updated based on the consultant’s findings.

## Slide 4: Equipment Certificates
The ENA has received some queries from organizations engaged in creating equipment certificates for G98 and G99 compliant generating units.
The ENA is supporting those organizations in the expectation that one or more of them will succeed in awarding equipment certificates to one or more manufacturers.
To date no equipment certificates have been claimed to be issued or presented.

## Slide 5: DER Technical Forum
ENA continuing to run the DER Technical Forum, currently with monthly meetings.
  Since November 2018 87 issues have been raised with ENA regarding the implementation of G98 and G99
  79 of the issues have been formally closed off with the agreement of those that raised them, and 3 more are expected to be closed at the 11/12/19 Forum
  All the issues are made public: http://www.energynetworks.org/electricity/engineering/distributed-generation/ena-dno-der-technical-forum.html
The last meeting was on 1 October, where the focus of discussions was on clarifying and resolving issues related to the demonstration of compliance
Principally driven by the DER Technical Forum the modification proposing a series of minor changes to G99 has just been submitted to Ofgem for approval
DNOs will continue to monitor G99 implementation issues through the DER Technical Forum and general implementation experience – and would hope now not to require any further modifications in the short term
Through the Forum the ENA is continuing to work with a group of owners/developers of second hand gas engine driven synchronous generation (Type B) to find ways to establish G99 (and RfG) compliance given the lack of manufacturers’ information

## Slide 6: Other Codes
System Operation Guidelines - no update at this time
Demand Connexion Code – no update at this time
Emergency and Restoration Code – the implementation of this is now nearly complete (submission of revised documents to Ofgem 18th December 2019) and the approach taken by NGESO has been to limit any impact to CUSC parties – so no effect on distribution connected customers unless they hold a CUSC contract

## Slide 7: DCRP Issues
The DCRP is invited to:
  Note the ENA’s continuing activity in reviewing the completeness etc of entries in the type tested database
  Note the DER Technical Forum activity