Project / Document Update for the 80th Meeting of the

GB Distribution Code Review Panel

9th April 2020

Commencing at 12.30

Teleconference 020-3478-5289

Meeting number (access code): 161 269 608

DCRP/MP/17/05 - Provision for Energy Storage Devices in the Distribution Code.

No update

Modifications to the Distribution Code and Associated Documents for a No Deal EU Exit

EU Exit has now been implemented and it is expected that the modification paper provided in 2019 will be accepted. DCRP will keep a watching brief and review for updates in Autumn 2020

DCRP/18/08/PC - DC0079 - Frequency Changes during Large Disturbances and their Impact on the Total System – ALoMCP

Programme update

The review of Window 2 submissions for the Accelerated Loss of Mains Change Programme (ALoMCP) submissions was completed in mid-March. The programme has had 3570 applications equating to 8GW of generation.

A review of the resources and application rate indicates that the programme cannot currently be accelerated to accommodate the actions from 9th August incident report. Any opportunity for earlier completion of ALoMCP will be further impacted by the postponement of the programme while Covid-19 restrictions are in place.

Modifications to EREC G99 to reflect the scope in EU 2016/631 in respect of existing power generating modules

Latest house-keeping modifications (DCRP/MP/19/08) approved 20th February 2020, G99/1-6 implemented 9th March 2020

Note – due to the number of modifications implemented since G99 was first launched and at the request of the authority there is to be a hiatus on further modifications to this document until Q3 2020.

DCRP/19/03/PC - EREC G5/5

Approved 17th December 2019 for implementation 17th June 2020

DCRP/19/07/PC - P18 Issue 2 Complexity of 132kV documents

Cosmetic revision to align with the latest ENA Engineering Document template and clarification of definitions. Opportunity has been taken to clarify the interpretation of certain requirements.

This issue does not include any principal technical changes.

Consultation carried out in June – July 2019 with 1 response (NPg) received. Terms of reference have been written but a working group to progress modifications has yet to be set up – group lead to be identified.

**DCRP/19/10 EREP 131 Version 3**

EREP 131 Version 3 was sent out for stakeholder consultation on 25th February 2020 and closed 20th March 2020 with no responses. The authority has confirmed this revision can be published without a formal RTA subject to agreement by the panel .

DCRP/MP/19/09 EREC P24 Issue 2

Final Document and consultation pack sent out for stakeholder consultation. Consultation closes 17th April 2020.

G74 Procedure to Meet the Requirements on IEC 909 for the Calculation of Short-Circuit Currents in Three-Phase AC Power Systems

G74 is not a DCode document but previously it was suggested that it should be subject to a DCode consultation (the document is used widely for the purposes of fault calculations). The G74/ETR120 working group have a meeting on 2nd April to agree the publishing of the document. IT is anticipated that the document will be published with a ‘go live’ date set for 1 year from publishing (similar to what was done for G99). This would allow software vendors to progress with changes to their product before G74 goes ‘live’